Project Closeout – Certificate of Occupancy Checklist

Date _____________________

PROJECT: ___________________________________ 	PERMIT No: __________________________

## Inspection Location: ___________________________	Date Ready: ___________________________

Contact Persons Name_________________________	Phone #: ______________________________

1 – Permit Holder to Request Certificate of Occupancy

2 - Environmental Certificates / Inspections

DEP or NWFWMD Storm Water System Certification

Engineer of Record Floor Elevation Certificate (If in Flood Zone)

3 – State Fire Marshal Approvals/ Inspections

Final Inspection on all Fire Protection Systems, Including Sprinkler Systems, Halon Systems, Hoods

Final Inspection of all Fire Alarm Systems

Final Inspection on Building Life Safety Features, including Emergency Lights, Signs, Extinguishers

4 – Threshold Inspector Certifications, Reports to be completed.

5 – State Elevator Inspector’s final inspection – operational license to be issued.

6 – Local Health Department approvals for Food Service, On Site Sewage Disposal Systems, K-12 Educational Facilities, Grease Interceptors.

7 – Final Florida Building Code Required Inspections

Including final Electrical, Plumbing, Mechanical and Building Inspection

8 – Related Code Required Certifications/ Inspections

Termite Certification Letters

Potable Water Disinfection

Backflow Preventer Testing

Fume Hood Inspections/ Certifications

HVAC Test and Balance Reports

Note – All Code required fire safety; life safety items must be complete prior to issuance of any temporary or Conditional Certificate of Occupancy. No temporary or Conditional Certificate of Occupancy may be issued without express written consent from the State Fire Marshal.

# Text boxes

Fax to (850) 412-7700

FLORIDA A&M UNIVERSITY

Department of Environmental Health and Safety

Building Code Administrator